{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["List1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"List1","index":0,"n_rows":207,"n_cols":17,"rows_kept":207,"cut":false,"hidden":false,"merged":[[216,10,216,11],[210,10,210,11],[211,10,211,11],[212,10,212,11],[213,10,213,11],[214,10,214,11],[215,10,215,11],[204,0,204,13],[205,0,205,13],[206,0,206,13],[207,10,207,11],[208,10,208,11],[209,10,209,11],[0,0,0,13],[1,10,1,11],[1,12,1,13],[2,0,2,13],[4,0,4,13],[5,10,5,11],[3,0,3,13],[12,10,12,11],[11,10,11,11],[8,10,8,11],[9,10,9,11],[6,10,6,11],[7,10,7,11],[10,10,10,11],[13,10,13,11],[19,0,19,13],[21,0,21,13],[22,10,22,11],[14,10,14,11],[24,10,24,11],[20,0,20,13],[27,10,27,11],[28,10,28,11],[29,10,29,11],[34,0,34,13],[23,10,23,11],[25,10,25,11],[26,10,26,11],[36,0,36,13],[37,10,37,11],[35,0,35,13],[38,10,38,11],[103,0,103,13],[86,0,86,13],[39,10,39,11],[40,10,40,11],[62,10,62,11],[46,10,46,11],[58,10,58,11],[41,10,41,11],[42,10,42,11],[44,10,44,11],[45,10,45,11],[51,0,51,13],[43,10,43,11],[55,10,55,11],[59,10,59,11],[60,10,60,11],[61,10,61,11],[52,0,52,13],[53,0,53,13],[54,10,54,11],[56,10,56,11],[57,10,57,11],[47,10,47,11],[63,10,63,11],[68,0,68,13],[70,0,70,13],[71,10,71,11],[69,0,69,13],[72,10,72,11],[73,10,73,11],[74,10,74,11],[75,10,75,11],[76,10,76,11],[77,10,77,11],[78,10,78,11],[157,10,157,11],[85,0,85,13],[87,0,87,13],[88,10,88,11],[79,10,79,11],[89,10,89,11],[90,10,90,11],[91,10,91,11],[92,10,92,11],[93,10,93,11],[94,10,94,11],[95,10,95,11],[96,10,96,11],[97,10,97,11],[102,0,102,13],[119,0,119,13],[104,0,104,13],[105,10,105,11],[106,10,106,11],[107,10,107,11],[108,10,108,11],[136,0,136,13],[138,0,138,13],[139,10,139,11],[140,10,140,11],[164,10,164,11],[148,10,148,11],[145,10,145,11],[146,10,146,11],[121,0,121,13],[109,10,109,11],[122,10,122,11],[123,10,123,11],[124,10,124,11],[125,10,125,11],[126,10,126,11],[110,10,110,11],[111,10,111,11],[112,10,112,11],[113,10,113,11],[114,10,114,11],[120,0,120,13],[182,10,182,11],[172,0,172,13],[173,10,173,11],[174,10,174,11],[180,10,180,11],[153,0,153,13],[155,0,155,13],[156,10,156,11],[127,10,127,11],[128,10,128,11],[129,10,129,11],[143,10,143,11],[144,10,144,11],[130,10,130,11],[158,10,158,11],[154,0,154,13],[162,10,162,11],[141,10,141,11],[142,10,142,11],[137,0,137,13],[175,10,175,11],[165,10,165,11],[147,10,147,11],[131,10,131,11],[198,10,198,11],[199,10,199,11],[192,10,192,11],[194,10,194,11],[159,10,159,11],[196,10,196,11],[197,10,197,11],[170,0,170,13],[187,0,187,13],[188,0,188,13],[189,0,189,13],[190,10,190,11],[171,0,171,13],[195,10,195,11],[160,10,160,11],[163,10,163,11],[176,10,176,11],[177,10,177,11],[193,10,193,11],[178,10,178,11],[179,10,179,11],[191,10,191,11],[161,10,161,11],[181,10,181,11]]}
[]
[{"$f":"G17","v":"00:00:00"},"ČÍSLO LAHVE","OBJEM","STAVBA","ČÍSLO PŘÍSTROJE","Platnost certifikátu DEN","OBSAH","ČÍSLO CERTIFIKÁTU KONTROLNÍ ŠARŽE","ODBĚR","PLATNOST CERTIFIKÁTU","POZNÁMKA (OBJEDNÁNO, LABORKA, atp.)",null,"KONTROLA, DATUM"]
["EJ AD1+AD4",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"TODAY()","v":"2018-03-12"}]
[]
["Pracovní plyny:"]
["AIR PROD  LAB",51515321,"10L","PCH AD 4","AC 6",{"$f":"_xlfn.DAYS(J6,Q3)","v":1721},null,null,"2012-11-27","2022-11-27"]
["AIR PROD OBJ",25615112,"10L","PCH AD 4","AC 7",{"$f":"_xlfn.DAYS(J7,$Q$3)","v":-143},null,null,"2014-11-04","2017-10-20"]
["AIR PROD OBJ",54848512,"10L","PCH AD 4","AC 8 - K2",409,null,null,"2016-05-25","2019-04-25"]
["AIR PROD OBJ",21151511,"10L","PCH AD 4","AC 9 - K1",-115,null,null,"2014-11-19","2017-11-17","obj"]
["AIR PROD OBJ",51481515,"10L","PCH AD 1","Anal 40-44",391,null,null,"2016-04-11","2019-04-07"]
["AIR PROD OBJ",51515628,"10L","PCH AD 1","Anal 10-14",472,null,null,"2014-06-27","2019-06-27"]
["AIR PROD OBJ",88745123,"10L","PCH AD 1","Anal 10-14",505,null,null,"2014-07-30","2019-07-30"]
[]
[]
[]
[]
[]
[]
[]
["EJ AD2"]
[]
["Pracovní plyny:"]
["AIR PROD OBJ",21564889,"20L","PCH AD 2","Anal 25",{"$f":"_xlfn.DAYS(J23,$Q$3)","v":-97},null,null,"2016-12-05","2017-12-05"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["EJ AD3"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["ENERGOBLOK"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["DÁLKOVODY"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["POLYPROPYLEN"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["NTPE"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["POLOPROVOZ"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["ČOV"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["HDPE"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["FAKLE"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["TUL"]
[]
["Pracovní plyny:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Pracovní plyny:"]