## MANUAL_001
Instrument Name,DustTrak II
Model Number,8530
Serial Number,8530110718
Firmware Version,3.7
Calibration Date,08/29/2018
Test Name,MANUAL_001
Test Start Time,09:51:00 AM
Test Start Date,11/30/2018
Test Length [D:H:M],1:0:0
Test Interval [M:S],0:30
Mass Average [mg/m3],0.182
Mass Minimum [mg/m3],0.031
Mass Maximum [mg/m3],1.10
Mass TWA [mg/m3],0.189
Photometric User Cal,1.00
Flow User Cal,0.00
Errors,
Number of Samples,2880
Elapsed Time [s],Mass [mg/m3],Alarms,Errors
30 | 0.254
60 | 0.351
90 | 0.378
120 | 0.423
150 | 0.236
180 | 0.359
210 | 0.260
240 | 0.286
270 | 0.256
300 | 0.337
330 | 0.356
360 | 0.305
390 | 0.343
420 | 0.270
450 | 0.169
480 | 0.087
510 | 0.116
540 | 0.165
570 | 0.191
600 | 0.256
630 | 0.241
660 | 0.242
690 | 0.207
720 | 0.152
750 | 0.149
780 | 0.234
810 | 0.323
840 | 0.255
870 | 0.265
900 | 0.219
930 | 0.252
960 | 0.237
990 | 0.140
1020 | 0.491
1050 | 0.175
1080 | 0.113
1110 | 0.087
1140 | 0.086
1170 | 0.088
1200 | 0.083
1230 | 0.090
1260 | 0.317
1290 | 0.256
1320 | 0.148
1350 | 0.322
1380 | 0.329
1410 | 0.380
1440 | 0.490
1470 | 0.394
1500 | 0.245
1530 | 0.383
1560 | 0.582
1590 | 0.317
1620 | 0.119
1650 | 0.111
1680 | 0.084
1710 | 0.080
1740 | 0.085
1770 | 0.085
1800 | 0.100
1830 | 0.103
1860 | 0.099
1890 | 0.230
1920 | 0.200
1950 | 0.145
1980 | 0.175
2010 | 0.360
2040 | 0.462
2070 | 0.349
2100 | 0.433
2130 | 0.523
2160 | 0.370
2190 | 0.193
2220 | 0.136
2250 | 0.109
2280 | 0.193
2310 | 0.134
2340 | 0.098
2370 | 0.108
2400 | 0.089
2430 | 0.191
2460 | 0.174
2490 | 0.138
2520 | 0.168
2550 | 0.228
2580 | 0.265
2610 | 0.356
2640 | 0.296
2670 | 0.471
2700 | 0.353
2730 | 0.362
2760 | 0.217
2790 | 0.289
2820 | 0.500
2850 | 0.398
2880 | 0.101
2910 | 0.132
2940 | 0.105
2970 | 0.084
3000 | 0.078
3030 | 0.130
3060 | 0.135
3090 | 0.368
3120 | 0.323
3150 | 0.344
3180 | 0.354
3210 | 0.179
3240 | 0.198
3270 | 0.263
3300 | 0.221
3330 | 0.348
3360 | 0.397
3390 | 0.342
3420 | 0.331
3450 | 0.350
3480 | 0.089
3510 | 0.082
3540 | 0.093
3570 | 0.105
3600 | 0.082
3630 | 0.088
3660 | 0.208
3690 | 0.242
3720 | 0.217
3750 | 0.238
3780 | 0.113
3810 | 0.179
3840 | 0.349
3870 | 0.265
3900 | 0.377
3930 | 0.276
3960 | 0.286
3990 | 0.306
4020 | 0.337
4050 | 0.308
4080 | 0.086
4110 | 0.084
4140 | 0.082
4170 | 0.081
4200 | 0.081
4230 | 0.107
4260 | 0.309
4290 | 0.214
4320 | 0.258
4350 | 0.277
4380 | 0.213
4410 | 0.215
4440 | 0.363
4470 | 0.406
4500 | 0.456
4530 | 0.452
4560 | 0.482
4590 | 0.319
4620 | 0.312
4650 | 0.327
4680 | 0.083
4710 | 0.083
4740 | 0.082
4770 | 0.082
4800 | 0.081
4830 | 0.120
4860 | 0.301
4890 | 0.332
4920 | 0.166
4950 | 0.234
4980 | 0.295
5010 | 0.329
5040 | 0.189
5070 | 0.143
5100 | 0.287
5130 | 0.165
5160 | 0.300
5190 | 0.154
5220 | 0.209
5250 | 0.118
5280 | 0.080
5310 | 0.080
5340 | 0.082
5370 | 0.080
5400 | 0.080
5430 | 0.120
5460 | 0.172
5490 | 0.246
5520 | 0.290
5550 | 0.389
5580 | 0.363
5610 | 0.299
5640 | 0.279
5670 | 0.180
5700 | 0.368
5730 | 0.266
5760 | 0.160
5790 | 0.214
5820 | 0.209
5850 | 0.358
5880 | 0.084
5910 | 0.078
5940 | 0.083
5970 | 0.078
6000 | 0.103
6030 | 0.116
6060 | 0.196
6090 | 0.278
6120 | 0.218
6150 | 0.190
6180 | 0.291
6210 | 0.264
6240 | 0.295
6270 | 0.351
6300 | 0.225
6330 | 0.310
6360 | 0.358
6390 | 0.437
6420 | 0.369
6450 | 0.283
6480 | 0.082
6510 | 0.082
6540 | 0.079
6570 | 0.078
6600 | 0.080
6630 | 0.113
6660 | 0.281
6690 | 0.260
6720 | 0.218
6750 | 0.272
6780 | 0.240
6810 | 0.286
6840 | 0.434
6870 | 0.440
6900 | 0.331
6930 | 0.308
6960 | 0.351
6990 | 0.463
7020 | 0.389
7050 | 0.216
7080 | 0.089
7110 | 0.091
7140 | 0.100
7170 | 0.110
7200 | 0.253
7230 | 0.138
7260 | 0.255
7290 | 0.299
7320 | 0.221
7350 | 0.109
7380 | 0.158
7410 | 0.233
7440 | 0.293
7470 | 0.269
7500 | 0.422
7530 | 0.376
7560 | 0.373
7590 | 0.205
7620 | 0.238
7650 | 0.284
7680 | 0.086
7710 | 0.084
7740 | 0.080
7770 | 0.085
7800 | 0.078
7830 | 0.151
7860 | 0.287
7890 | 0.243
7920 | 0.248
7950 | 0.328
7980 | 0.351
8010 | 0.395
8040 | 0.370
8070 | 0.388
8100 | 0.369
8130 | 0.289
8160 | 0.328
8190 | 0.118
8220 | 0.362
8250 | 0.236
8280 | 0.083
8310 | 0.081
8340 | 0.078
8370 | 0.076
8400 | 0.077
8430 | 0.089
8460 | 0.181
8490 | 0.170
8520 | 0.186
8550 | 0.112
8580 | 0.188
8610 | 0.273
8640 | 0.271
8670 | 0.319
8700 | 0.216
8730 | 0.245
8760 | 0.375
8790 | 0.452
8820 | 0.189
8850 | 0.181
8880 | 0.080
8910 | 0.076
8940 | 0.076
8970 | 0.076
9000 | 0.075
9030 | 0.105
9060 | 0.187
9090 | 0.219
9120 | 0.290
9150 | 0.196
9180 | 0.166
9210 | 0.268
9240 | 0.152
9270 | 0.244
9300 | 0.193
9330 | 0.179
9360 | 0.273
9390 | 0.153
9420 | 0.174
9450 | 0.222
9480 | 0.076
9510 | 0.074
9540 | 0.077
9570 | 0.096
9600 | 0.080
9630 | 0.150
9660 | 0.129
9690 | 0.095
9720 | 0.193
9750 | 0.201
9780 | 0.176
9810 | 0.301
9840 | 0.298
9870 | 0.210
9900 | 0.288
9930 | 0.244
9960 | 0.208
9990 | 0.279
10020 | 0.240
10050 | 0.190
10080 | 0.075
10110 | 0.074
10140 | 0.078
10170 | 0.075
10200 | 0.073
10230 | 0.122
10260 | 0.125
10290 | 0.136
10320 | 0.189
10350 | 0.308
10380 | 0.265
10410 | 0.215
10440 | 0.186
10470 | 0.112
10500 | 0.112
10530 | 0.088
10560 | 0.191
10590 | 0.192
10620 | 0.340
10650 | 0.149
10680 | 0.108
10710 | 0.078
10740 | 0.078
10770 | 0.084
10800 | 0.074
10830 | 0.172
10860 | 0.305
10890 | 0.292
10920 | 0.325
10950 | 0.331
10980 | 0.263
11010 | 0.315
11040 | 0.256
11070 | 0.214
11100 | 0.287
11130 | 0.172
11160 | 0.107
11190 | 0.295
11220 | 0.175
11250 | 0.310
11280 | 0.076
11310 | 0.076
11340 | 0.073
11370 | 0.078
11400 | 0.082
11430 | 0.131
11460 | 0.186
11490 | 0.159
11520 | 0.212
11550 | 0.191
11580 | 0.149
11610 | 0.202
11640 | 0.357
11670 | 0.364
11700 | 0.262
11730 | 0.382
11760 | 0.321
11790 | 0.440
11820 | 0.345
11850 | 0.293
11880 | 0.104
11910 | 0.099
11940 | 0.088
11970 | 0.105
12000 | 0.112
12030 | 0.182
12060 | 0.261
12090 | 0.311
12120 | 0.333
12150 | 0.321
12180 | 0.325
12210 | 0.407
12240 | 0.397
12270 | 0.290
12300 | 0.398
12330 | 0.302
12360 | 0.220
12390 | 0.382
12420 | 0.322
12450 | 0.212
12480 | 0.120
12510 | 0.070
12540 | 0.087
12570 | 0.078
12600 | 0.072
12630 | 0.121
12660 | 0.203
12690 | 0.213
12720 | 0.240
12750 | 0.176
12780 | 0.166
12810 | 0.223
12840 | 0.399
12870 | 0.241
12900 | 0.184
12930 | 0.103
12960 | 0.163
12990 | 0.089
13020 | 0.293
13050 | 0.142
13080 | 0.074
13110 | 0.068
13140 | 0.068
13170 | 0.076
13200 | 0.061
13230 | 0.106
13260 | 0.172
13290 | 0.142
13320 | 0.164
13350 | 0.309
13380 | 0.158
13410 | 0.163
13440 | 0.235
13470 | 0.164
13500 | 0.264
13530 | 0.362
13560 | 0.123
13590 | 0.099
13620 | 0.112
13650 | 0.210
13680 | 0.061
13710 | 0.062
13740 | 0.059
13770 | 0.059
13800 | 0.058
13830 | 0.085
13860 | 0.165
13890 | 0.226
13920 | 0.255
13950 | 0.149
13980 | 0.189
14010 | 0.291
14040 | 0.233
14070 | 0.280
14100 | 0.349
14130 | 0.208
14160 | 0.242
14190 | 0.257
14220 | 0.202
14250 | 0.087
14280 | 0.058
14310 | 0.057
14340 | 0.091
14370 | 0.083
14400 | 0.057
14430 | 0.114
14460 | 0.246
14490 | 0.264
14520 | 0.148
14550 | 0.233
14580 | 0.160
14610 | 0.230
14640 | 0.343
14670 | 0.313
14700 | 0.355
14730 | 0.119
14760 | 0.150
14790 | 0.071
14820 | 0.103
14850 | 0.157
14880 | 0.057
14910 | 0.057
14940 | 0.057
14970 | 0.057
15000 | 0.056
15030 | 0.140
15060 | 0.234
15090 | 0.199
15120 | 0.149
15150 | 0.228
15180 | 0.234
15210 | 0.206
15240 | 0.244
15270 | 0.346
15300 | 0.272
15330 | 0.260
15360 | 0.231
15390 | 0.191
15420 | 0.189
15450 | 0.156
15480 | 0.059
15510 | 0.057
15540 | 0.056
15570 | 0.064
15600 | 0.085
15630 | 0.114
15660 | 0.127
15690 | 0.211
15720 | 0.136
15750 | 0.324
15780 | 0.183
15810 | 0.310
15840 | 0.305
15870 | 0.257
15900 | 0.127
15930 | 0.192
15960 | 0.316
15990 | 0.257
16020 | 0.245
16050 | 0.225
16080 | 0.056
16110 | 0.055
16140 | 0.055
16170 | 0.055
16200 | 0.055
16230 | 0.065
16260 | 0.113
16290 | 0.158
16320 | 0.182
16350 | 0.126
16380 | 0.210
16410 | 0.236
16440 | 0.304
16470 | 0.361
16500 | 0.301
16530 | 0.134
16560 | 0.085
16590 | 0.109
16620 | 0.120
16650 | 0.152
16680 | 0.054
16710 | 0.053
16740 | 0.054
16770 | 0.055
16800 | 0.063
16830 | 0.092
16860 | 0.136
16890 | 0.084
16920 | 0.155
16950 | 0.294
16980 | 0.234
17010 | 0.272
17040 | 0.198
17070 | 0.276
17100 | 0.176
17130 | 0.130
17160 | 0.160
17190 | 0.291
17220 | 0.154
17250 | 0.161
17280 | 0.058
17310 | 0.050
17340 | 0.049
17370 | 0.048
17400 | 0.047
17430 | 0.111
17460 | 0.086
17490 | 0.069
17520 | 0.164
17550 | 0.151
17580 | 0.178
17610 | 0.116
17640 | 0.087
17670 | 0.099
17700 | 0.126
17730 | 0.155
17760 | 0.169
17790 | 0.235
17820 | 0.135
17850 | 0.062
17880 | 0.047
17910 | 0.079
17940 | 0.122
17970 | 0.095
18000 | 0.053
18030 | 0.054
18060 | 0.181
18090 | 0.304
18120 | 0.136
18150 | 0.104
18180 | 0.239
18210 | 0.211
18240 | 0.077
18270 | 0.099
18300 | 0.170
18330 | 0.132
18360 | 0.101
18390 | 0.134
18420 | 0.252
18450 | 0.203
18480 | 0.047
18510 | 0.045
18540 | 0.046
18570 | 0.047
18600 | 0.047
18630 | 0.055
18660 | 0.071
18690 | 0.085
18720 | 0.136
18750 | 0.234
18780 | 0.246
18810 | 0.205
18840 | 0.240
18870 | 0.362
18900 | 0.333
18930 | 0.304
18960 | 0.334
18990 | 0.353
19020 | 0.248
19050 | 0.287
19080 | 0.089
19110 | 0.131
19140 | 0.062
19170 | 0.049
19200 | 0.079
19230 | 0.131
19260 | 0.167
19290 | 0.151
19320 | 0.285
19350 | 0.160
19380 | 0.264
19410 | 0.238
19440 | 0.319
19470 | 0.122
19500 | 0.260
19530 | 0.367
19560 | 0.322
19590 | 0.143
19620 | 0.246
19650 | 0.289
19680 | 0.058
19710 | 0.056
19740 | 0.052
19770 | 0.045
19800 | 0.044
19830 | 0.053
19860 | 0.061
19890 | 0.090
19920 | 0.120
19950 | 0.104
19980 | 0.105
20010 | 0.144
20040 | 0.187
20070 | 0.189
20100 | 0.252
20130 | 0.129
20160 | 0.205
20190 | 0.238
20220 | 0.269
20250 | 0.253
20280 | 0.043
20310 | 0.041
20340 | 0.090
20370 | 0.090
20400 | 0.046
20430 | 0.077
20460 | 0.241
20490 | 0.163
20520 | 0.138
20550 | 0.189
20580 | 0.092
20610 | 0.240
20640 | 0.177
20670 | 0.169
20700 | 0.237
20730 | 0.388
20760 | 0.329
20790 | 0.390
20820 | 0.418
20850 | 0.198
20880 | 0.044
20910 | 0.056
20940 | 0.095
20970 | 0.207
21000 | 0.164
21030 | 0.118
21060 | 0.281
21090 | 0.231
21120 | 0.225
21150 | 0.301
21180 | 0.298
21210 | 0.257
21240 | 0.180
21270 | 0.402
21300 | 0.306
21330 | 0.348
21360 | 0.373
21390 | 0.303
21420 | 0.403
21450 | 0.286
21480 | 0.042
21510 | 0.042
21540 | 0.043
21570 | 0.042
21600 | 0.040
21630 | 0.102
21660 | 0.101
21690 | 0.154
21720 | 0.184
21750 | 0.216
21780 | 0.244
21810 | 0.302
21840 | 0.165
21870 | 0.300
21900 | 0.132
21930 | 0.054
21960 | 0.096
21990 | 0.233
22020 | 0.331
22050 | 0.118
22080 | 0.038
22110 | 0.038
22140 | 0.037
22170 | 0.036
22200 | 0.054
22230 | 0.064
22260 | 0.181
22290 | 0.140
22320 | 0.179
22350 | 0.173
22380 | 0.238
22410 | 0.178
22440 | 0.282
22470 | 0.263
22500 | 0.235
22530 | 0.303
22560 | 0.188
22590 | 0.239
22620 | 0.210
22650 | 0.271
22680 | 0.038
22710 | 0.036
22740 | 0.035
22770 | 0.036
22800 | 0.035
22830 | 0.040
22860 | 0.175
22890 | 0.183
22920 | 0.128
22950 | 0.205
22980 | 0.122
23010 | 0.208
23040 | 0.259
23070 | 0.340
23100 | 0.331
23130 | 0.362
23160 | 0.208
23190 | 0.372
23220 | 0.398
23250 | 0.227
23280 | 0.035
23310 | 0.040
23340 | 0.033
23370 | 0.033
23400 | 0.037
23430 | 0.082
23460 | 0.222
23490 | 0.283
23520 | 0.210
23550 | 0.257
23580 | 0.302
23610 | 0.283
23640 | 0.290
23670 | 0.278
23700 | 0.203
23730 | 0.225
23760 | 0.058
23790 | 0.202
23820 | 0.310
23850 | 0.245
23880 | 0.036
23910 | 0.032
23940 | 0.032
23970 | 0.075
24000 | 0.036
24030 | 0.066
24060 | 0.096
24090 | 0.107
24120 | 0.159
24150 | 0.209
24180 | 0.110
24210 | 0.120
24240 | 0.159
24270 | 0.189
24300 | 0.213
24330 | 0.163
24360 | 0.200
24390 | 0.140
24420 | 0.289
24450 | 0.064
24480 | 0.031
24510 | 0.034
24540 | 0.038
24570 | 0.034
24600 | 0.032
24630 | 0.071
24660 | 0.137
24690 | 0.261
24720 | 0.246
24750 | 0.107
24780 | 0.086
24810 | 0.198
24840 | 0.162
24870 | 0.253
24900 | 0.198
24930 | 0.333
24960 | 0.376
24990 | 0.223
25020 | 0.291
25050 | 0.192
25080 | 0.040
25110 | 0.052
25140 | 0.038
25170 | 0.039
25200 | 0.035
25230 | 0.103
25260 | 0.230
25290 | 0.271
25320 | 0.229
25350 | 0.238
25380 | 0.299
25410 | 0.305
25440 | 0.318
25470 | 0.324
25500 | 0.284
25530 | 0.217
25560 | 0.199
25590 | 0.267
25620 | 0.211
25650 | 0.173
25680 | 0.038
25710 | 0.036
25740 | 0.040
25770 | 0.044
25800 | 0.039
25830 | 0.066
25860 | 0.157
25890 | 0.247
25920 | 0.240
25950 | 0.225
25980 | 0.257
26010 | 0.160
26040 | 0.159
26070 | 0.165
26100 | 0.086
26130 | 0.122
26160 | 0.156
26190 | 0.204
26220 | 0.206
26250 | 0.138
26280 | 0.035
26310 | 0.041
26340 | 0.039
26370 | 0.053
26400 | 0.042
26430 | 0.049
26460 | 0.163
26490 | 0.174
26520 | 0.131
26550 | 0.157
26580 | 0.189
26610 | 0.268
26640 | 0.281
26670 | 0.255
26700 | 0.270
26730 | 0.253
26760 | 0.240
26790 | 0.337
26820 | 0.224
26850 | 0.166
26880 | 0.042
26910 | 0.037
26940 | 0.036
26970 | 0.033
27000 | 0.033
27030 | 0.089
27060 | 0.066
27090 | 0.111
27120 | 0.118
27150 | 0.161
27180 | 0.102
27210 | 0.125
27240 | 0.185
27270 | 0.214
27300 | 0.182
27330 | 0.276
27360 | 0.193
27390 | 0.188
27420 | 0.238
27450 | 0.084
27480 | 0.039
27510 | 0.035
27540 | 0.035
27570 | 0.096
27600 | 0.151
27630 | 0.130
27660 | 0.099
27690 | 0.130
27720 | 0.103
27750 | 0.163
27780 | 0.176
27810 | 0.225
27840 | 0.275
27870 | 0.151
27900 | 0.144
27930 | 0.217
27960 | 0.124
27990 | 0.175
28020 | 0.143
28050 | 0.147
28080 | 0.034
28110 | 0.033
28140 | 0.038
28170 | 0.036
28200 | 0.033
28230 | 0.044
28260 | 0.079
28290 | 0.087
28320 | 0.172
28350 | 0.198
28380 | 0.190
28410 | 0.130
28440 | 0.193
28470 | 0.176
28500 | 0.278
28530 | 0.297
28560 | 0.280
28590 | 0.167
28620 | 0.250
28650 | 0.079
28680 | 0.033
28710 | 0.032
28740 | 0.032
28770 | 0.032
28800 | 0.032
28830 | 0.062
28860 | 0.123
28890 | 0.157
28920 | 0.196
28950 | 0.232
28980 | 0.224
29010 | 0.138
29040 | 0.048
29070 | 0.140
29100 | 0.139
29130 | 0.231
29160 | 0.180
29190 | 0.194
29220 | 0.115
29250 | 0.103
29280 | 0.035
29310 | 0.035
29340 | 0.035
29370 | 0.034
29400 | 0.034
29430 | 0.057
29460 | 0.153
29490 | 0.202
29520 | 0.152
29550 | 0.247
29580 | 0.193
29610 | 0.101
29640 | 0.196
29670 | 0.237
29700 | 0.286
29730 | 0.232
29760 | 0.289
29790 | 0.281
29820 | 0.323
29850 | 0.265
29880 | 0.036
29910 | 0.035
29940 | 0.034
29970 | 0.033
30000 | 0.033
30030 | 0.088
30060 | 0.158
30090 | 0.092
30120 | 0.226
30150 | 0.247
30180 | 0.252
30210 | 0.091
30240 | 0.087
30270 | 0.248
30300 | 0.198
30330 | 0.255
30360 | 0.263
30390 | 0.080
30420 | 0.244
30450 | 0.165
30480 | 0.040
30510 | 0.036
30540 | 0.035
30570 | 0.035
30600 | 0.035
30630 | 0.077
30660 | 0.196
30690 | 0.167
30720 | 0.229
30750 | 0.207
30780 | 0.219
30810 | 0.107
30840 | 0.074
30870 | 0.155
30900 | 0.180
30930 | 0.109
30960 | 0.173
30990 | 0.173
31020 | 0.124
31050 | 0.141
31080 | 0.037
31110 | 0.036
31140 | 0.036
31170 | 0.035
31200 | 0.035
31230 | 0.054
31260 | 0.077
31290 | 0.136
31320 | 0.170
31350 | 0.120
31380 | 0.084
31410 | 0.149
31440 | 0.218
31470 | 0.201
31500 | 0.154
31530 | 0.206
31560 | 0.189
31590 | 0.174
31620 | 0.153
31650 | 0.194
31680 | 0.038
31710 | 0.037
31740 | 0.037
31770 | 0.036
31800 | 0.037
31830 | 0.065
31860 | 0.138
31890 | 0.202
31920 | 0.161
31950 | 0.138
31980 | 0.154
32010 | 0.141
32040 | 0.194
32070 | 0.140
32100 | 0.165
32130 | 0.095
32160 | 0.108
32190 | 0.088
32220 | 0.179
32250 | 0.148
32280 | 0.040
32310 | 0.038
32340 | 0.039
32370 | 0.039
32400 | 0.037
32430 | 0.068
32460 | 0.115
32490 | 0.114
32520 | 0.113
32550 | 0.114
32580 | 0.068
32610 | 0.141
32640 | 0.125
32670 | 0.116
32700 | 0.094
32730 | 0.142
32760 | 0.089
32790 | 0.075
32820 | 0.080
32850 | 0.080
32880 | 0.040
32910 | 0.039
32940 | 0.039
32970 | 0.039
33000 | 0.038
33030 | 0.052
33060 | 0.066
33090 | 0.159
33120 | 0.154
33150 | 0.109
33180 | 0.094
33210 | 0.091
33240 | 0.196
33270 | 0.148
33300 | 0.128
33330 | 0.142
33360 | 0.182
33390 | 0.151
33420 | 0.189
33450 | 0.156
33480 | 0.041
33510 | 0.040
33540 | 0.039
33570 | 0.039
33600 | 0.039
33630 | 0.073
33660 | 0.100
33690 | 0.151
33720 | 0.163
33750 | 0.173
33780 | 0.119
33810 | 0.150
33840 | 0.172
33870 | 0.174
33900 | 0.184
33930 | 0.170
33960 | 0.158
33990 | 0.103
34020 | 0.117
34050 | 0.138
34080 | 0.041
34110 | 0.040
34140 | 0.040
34170 | 0.040
34200 | 0.040
34230 | 0.053
34260 | 0.111
34290 | 0.084
34320 | 0.115
34350 | 0.107
34380 | 0.115
34410 | 0.105
34440 | 0.097
34470 | 0.123
34500 | 0.114
34530 | 0.071
34560 | 0.096
34590 | 0.145
34620 | 0.102
34650 | 0.066
34680 | 0.040
34710 | 0.039
34740 | 0.040
34770 | 0.040
34800 | 0.039
34830 | 0.049
34860 | 0.078
34890 | 0.099
34920 | 0.096
34950 | 0.079
34980 | 0.101
35010 | 0.129
35040 | 0.151
35070 | 0.116
35100 | 0.110
35130 | 0.092
35160 | 0.083
35190 | 0.127
35220 | 0.116
35250 | 0.130
35280 | 0.042
35310 | 0.040
35340 | 0.040
35370 | 0.039
35400 | 0.040
35430 | 0.062
35460 | 0.113
35490 | 0.126
35520 | 0.110
35550 | 0.125
35580 | 0.155
35610 | 0.099
35640 | 0.126
35670 | 0.126
35700 | 0.092
35730 | 0.073
35760 | 0.107
35790 | 0.083
35820 | 0.113
35850 | 0.073
35880 | 0.041
35910 | 0.040
35940 | 0.040
35970 | 0.041
36000 | 0.040
36030 | 0.060
36060 | 0.121
36090 | 0.140
36120 | 0.138
36150 | 0.122
36180 | 0.080
36210 | 0.097
36240 | 0.138
36270 | 0.123
36300 | 0.175
36330 | 0.183
36360 | 0.173
36390 | 0.130
36420 | 0.130
36450 | 0.126
36480 | 0.042
36510 | 0.042
36540 | 0.042
36570 | 0.041
36600 | 0.040
36630 | 0.060
36660 | 0.144
36690 | 0.123
36720 | 0.146
36750 | 0.127
36780 | 0.129
36810 | 0.142
36840 | 0.122
36870 | 0.144
36900 | 0.127
36930 | 0.109
36960 | 0.085
36990 | 0.110
37020 | 0.097
37050 | 0.097
37080 | 0.045
37110 | 0.044
37140 | 0.043
37170 | 0.042
37200 | 0.043
37230 | 0.057
37260 | 0.078
37290 | 0.125
37320 | 0.152
37350 | 0.162
37380 | 0.118
37410 | 0.141
37440 | 0.115
37470 | 0.136
37500 | 0.167
37530 | 0.182
37560 | 0.186
37590 | 0.145
37620 | 0.183
37650 | 0.141
37680 | 0.044
37710 | 0.044
37740 | 0.044
37770 | 0.043
37800 | 0.043
37830 | 0.064
37860 | 0.098
37890 | 0.115
37920 | 0.122
37950 | 0.097
37980 | 0.113
38010 | 0.089
38040 | 0.095
38070 | 0.109
38100 | 0.137
38130 | 0.131
38160 | 0.097
38190 | 0.072
38220 | 0.115
38250 | 0.105
38280 | 0.044
38310 | 0.045
38340 | 0.043
38370 | 0.042
38400 | 0.043
38430 | 0.074
38460 | 0.092
38490 | 0.096
38520 | 0.131
38550 | 0.096
38580 | 0.102
38610 | 0.085
38640 | 0.099
38670 | 0.092
38700 | 0.106
38730 | 0.141
38760 | 0.131
38790 | 0.136
38820 | 0.107
38850 | 0.106
38880 | 0.046
38910 | 0.045
38940 | 0.045
38970 | 0.044
39000 | 0.044
39030 | 0.076
39060 | 0.090
39090 | 0.135
39120 | 0.127
39150 | 0.142
39180 | 0.121
39210 | 0.095
39240 | 0.138
39270 | 0.139
39300 | 0.155
39330 | 0.148
39360 | 0.142
39390 | 0.135
39420 | 0.126
39450 | 0.124
39480 | 0.047
39510 | 0.046
39540 | 0.046
39570 | 0.046
39600 | 0.046
39630 | 0.078
39660 | 0.125
39690 | 0.133
39720 | 0.132
39750 | 0.137
39780 | 0.117
39810 | 0.114
39840 | 0.137
39870 | 0.165
39900 | 0.155
39930 | 0.175
39960 | 0.190
39990 | 0.120
40020 | 0.131
40050 | 0.080
40080 | 0.047
40110 | 0.047
40140 | 0.047
40170 | 0.047
40200 | 0.048
40230 | 0.068
40260 | 0.121
40290 | 0.115
40320 | 0.101
40350 | 0.099
40380 | 0.114
40410 | 0.107
40440 | 0.116
40470 | 0.106
40500 | 0.129
40530 | 0.147
40560 | 0.149
40590 | 0.157
40620 | 0.129
40650 | 0.076
40680 | 0.049
40710 | 0.048
40740 | 0.048
40770 | 0.048
40800 | 0.048
40830 | 0.076
40860 | 0.113
40890 | 0.147
40920 | 0.142
40950 | 0.149
40980 | 0.161
41010 | 0.135
41040 | 0.155
41070 | 0.164
41100 | 0.151
41130 | 0.105
41160 | 0.120
41190 | 0.125
41220 | 0.139
41250 | 0.103
41280 | 0.049
41310 | 0.050
41340 | 0.049
41370 | 0.050
41400 | 0.049
41430 | 0.082
41460 | 0.128
41490 | 0.144
41520 | 0.087
41550 | 0.110
41580 | 0.094
41610 | 0.066
41640 | 0.105
41670 | 0.102
41700 | 0.093
41730 | 0.106
41760 | 0.097
41790 | 0.099
41820 | 0.106
41850 | 0.129
41880 | 0.051
41910 | 0.049
41940 | 0.049
41970 | 0.050
42000 | 0.050
42030 | 0.068
42060 | 0.126
42090 | 0.107
42120 | 0.114
42150 | 0.183
42180 | 0.176
42210 | 0.140
42240 | 0.125
42270 | 0.213
42300 | 0.236
42330 | 0.270
42360 | 0.199
42390 | 0.221
42420 | 0.231
42450 | 0.134
42480 | 0.051
42510 | 0.051
42540 | 0.050
42570 | 0.049
42600 | 0.049
42630 | 0.107
42660 | 0.166
42690 | 0.207
42720 | 0.211
42750 | 0.217
42780 | 0.220
42810 | 0.201
42840 | 0.213
42870 | 0.210
42900 | 0.183
42930 | 0.143
42960 | 0.206
42990 | 0.188
43020 | 0.235
43050 | 0.192
43080 | 0.053
43110 | 0.052
43140 | 0.051
43170 | 0.052
43200 | 0.051
43230 | 0.066
43260 | 0.151
43290 | 0.143
43320 | 0.166
43350 | 0.136
43380 | 0.162
43410 | 0.132
43440 | 0.166
43470 | 0.160
43500 | 0.131
43530 | 0.099
43560 | 0.123
43590 | 0.179
43620 | 0.153
43650 | 0.136
43680 | 0.054
43710 | 0.053
43740 | 0.053
43770 | 0.053
43800 | 0.053
43830 | 0.070
43860 | 0.133
43890 | 0.147
43920 | 0.111
43950 | 0.109
43980 | 0.145
44010 | 0.155
44040 | 0.171
44070 | 0.173
44100 | 0.171
44130 | 0.152
44160 | 0.188
44190 | 0.191
44220 | 0.169
44250 | 0.129
44280 | 0.055
44310 | 0.053
44340 | 0.053
44370 | 0.053
44400 | 0.052
44430 | 0.080
44460 | 0.127
44490 | 0.141
44520 | 0.138
44550 | 0.124
44580 | 0.111
44610 | 0.146
44640 | 0.131
44670 | 0.113
44700 | 0.154
44730 | 0.182
44760 | 0.201
44790 | 0.185
44820 | 0.192
44850 | 0.160
44880 | 0.056
44910 | 0.053
44940 | 0.053
44970 | 0.053
45000 | 0.053
45030 | 0.091
45060 | 0.129
45090 | 0.157
45120 | 0.163
45150 | 0.163
45180 | 0.162
45210 | 0.169
45240 | 0.171
45270 | 0.172
45300 | 0.176
45330 | 0.147
45360 | 0.162
45390 | 0.168
45420 | 0.174
45450 | 0.134
45480 | 0.055
45510 | 0.054
45540 | 0.054
45570 | 0.053
45600 | 0.054
45630 | 0.080
45660 | 0.117
45690 | 0.148
45720 | 0.160
45750 | 0.160
45780 | 0.163
45810 | 0.168
45840 | 0.153
45870 | 0.156
45900 | 0.140
45930 | 0.136
45960 | 0.151
45990 | 0.159
46020 | 0.162
46050 | 0.121
46080 | 0.055
46110 | 0.054
46140 | 0.055
46170 | 0.053
46200 | 0.053
46230 | 0.075
46260 | 0.121
46290 | 0.130
46320 | 0.136
46350 | 0.138
46380 | 0.125
46410 | 0.135
46440 | 0.132
46470 | 0.144
46500 | 0.153
46530 | 0.158
46560 | 0.159
46590 | 0.151
46620 | 0.154
46650 | 0.132
46680 | 0.055
46710 | 0.054
46740 | 0.053
46770 | 0.054
46800 | 0.052
46830 | 0.088
46860 | 0.139
46890 | 0.117
46920 | 0.157
46950 | 0.165
46980 | 0.155
47010 | 0.171
47040 | 0.157
47070 | 0.149
47100 | 0.187
47130 | 0.182
47160 | 0.144
47190 | 0.549
47220 | 0.208
47250 | 0.146
47280 | 0.075
47310 | 0.073
47340 | 0.073
47370 | 0.074
47400 | 0.073
47430 | 0.087
47460 | 0.131
47490 | 0.161
47520 | 0.166
47550 | 0.156
47580 | 0.150
47610 | 0.128
47640 | 0.151
47670 | 0.166
47700 | 0.173
47730 | 0.174
47760 | 0.162
47790 | 0.154
47820 | 0.174
47850 | 0.132
47880 | 0.074
47910 | 0.074
47940 | 0.074
47970 | 0.073
48000 | 0.074
48030 | 0.104
48060 | 0.126
48090 | 0.127
48120 | 0.125
48150 | 0.130
48180 | 0.131
48210 | 0.124
48240 | 0.119
48270 | 0.137
48300 | 0.145
48330 | 0.140
48360 | 0.130
48390 | 0.123
48420 | 0.146
48450 | 0.132
48480 | 0.074
48510 | 0.074
48540 | 0.075
48570 | 0.074
48600 | 0.074
48630 | 0.095
48660 | 0.119
48690 | 0.132
48720 | 0.134
48750 | 0.139
48780 | 0.145
48810 | 0.143
48840 | 0.138
48870 | 0.144
48900 | 0.152
48930 | 0.159
48960 | 0.152
48990 | 0.153
49020 | 0.145
49050 | 0.122
49080 | 0.074
49110 | 0.073
49140 | 0.074
49170 | 0.073
49200 | 0.073
49230 | 0.089
49260 | 0.127
49290 | 0.158
49320 | 0.157
49350 | 0.152
49380 | 0.150
49410 | 0.157
49440 | 0.176
49470 | 0.175
49500 | 0.175
49530 | 0.178
49560 | 0.187
49590 | 0.197
49620 | 0.205
49650 | 0.160
49680 | 0.074
49710 | 0.073
49740 | 0.072
49770 | 0.071
49800 | 0.073
49830 | 0.094
49860 | 0.119
49890 | 0.135
49920 | 0.152
49950 | 0.154
49980 | 0.113
50010 | 0.121
50040 | 0.132
50070 | 0.132
50100 | 0.146
50130 | 0.130
50160 | 0.141
50190 | 0.159
50220 | 0.157
50250 | 0.135
50280 | 0.074
50310 | 0.073
50340 | 0.074
50370 | 0.073
50400 | 0.074
50430 | 0.084
50460 | 0.110
50490 | 0.123
50520 | 0.128
50550 | 0.135
50580 | 0.132
50610 | 0.123
50640 | 0.127
50670 | 0.116
50700 | 0.111
50730 | 0.113
50760 | 0.108
50790 | 0.113
50820 | 0.109
50850 | 0.116
50880 | 0.077
50910 | 0.076
50940 | 0.076
50970 | 0.076
51000 | 0.077
51030 | 0.093
51060 | 0.116
51090 | 0.121
51120 | 0.123
51150 | 0.122
51180 | 0.146
51210 | 0.111
51240 | 0.137
51270 | 0.127
51300 | 0.140
51330 | 0.148
51360 | 0.154
51390 | 0.157
51420 | 0.159
51450 | 0.137
51480 | 0.079
51510 | 0.077
51540 | 0.077
51570 | 0.078
51600 | 0.079
51630 | 0.090
51660 | 0.111
51690 | 0.124
51720 | 0.130
51750 | 0.125
51780 | 0.116
51810 | 0.129
51840 | 0.128
51870 | 0.134
51900 | 0.140
51930 | 0.148
51960 | 0.145
51990 | 0.152
52020 | 0.140
52050 | 0.108
52080 | 0.080
52110 | 0.079
52140 | 0.081
52170 | 0.080
52200 | 0.079
52230 | 0.086
52260 | 0.106
52290 | 0.116
52320 | 0.193
52350 | 0.110
52380 | 0.110
52410 | 0.111
52440 | 0.120
52470 | 0.126
52500 | 0.129
52530 | 0.132
52560 | 0.127
52590 | 0.128
52620 | 0.132
52650 | 0.113
52680 | 0.080
52710 | 0.079
52740 | 0.079
52770 | 0.079
52800 | 0.079
52830 | 0.086
52860 | 0.102
52890 | 0.113
52920 | 0.119
52950 | 0.123
52980 | 0.125
53010 | 0.123
53040 | 0.126
53070 | 0.117
53100 | 0.112
53130 | 0.131
53160 | 0.136
53190 | 0.136
53220 | 0.124
53250 | 0.119
53280 | 0.080
53310 | 0.078
53340 | 0.077
53370 | 0.076
53400 | 0.077
53430 | 0.090
53460 | 0.112
53490 | 0.124
53520 | 0.126
53550 | 0.133
53580 | 0.149
53610 | 0.158
53640 | 0.163
53670 | 0.163
53700 | 0.160
53730 | 0.160
53760 | 0.164
53790 | 0.162
53820 | 0.179
53850 | 0.141
53880 | 0.081
53910 | 0.078
53940 | 0.078
53970 | 0.077
54000 | 0.078
54030 | 0.097
54060 | 0.132
54090 | 0.145
54120 | 0.151
54150 | 0.172
54180 | 0.174
54210 | 0.178
54240 | 0.177
54270 | 0.180
54300 | 0.176
54330 | 0.171
54360 | 0.172
54390 | 0.176
54420 | 0.173
54450 | 0.145
54480 | 0.080
54510 | 0.078
54540 | 0.077
54570 | 0.078
54600 | 0.078
54630 | 0.095
54660 | 0.125
54690 | 0.136
54720 | 0.144
54750 | 0.144
54780 | 0.141
54810 | 0.141
54840 | 0.135
54870 | 0.143
54900 | 0.144
54930 | 0.141
54960 | 0.139
54990 | 0.137
55020 | 0.142
55050 | 0.121
55080 | 0.081
55110 | 0.079
55140 | 0.079
55170 | 0.080
55200 | 0.079
55230 | 0.091
55260 | 0.122
55290 | 0.126
55320 | 0.130
55350 | 0.131
55380 | 0.137
55410 | 0.140
55440 | 0.138
55470 | 0.150
55500 | 0.147
55530 | 0.143
55560 | 0.152
55590 | 0.155
55620 | 0.163
55650 | 0.138
55680 | 0.080
55710 | 0.078
55740 | 0.078
55770 | 0.079
55800 | 0.078
55830 | 0.093
55860 | 0.125
55890 | 0.131
55920 | 0.135
55950 | 0.134
55980 | 0.146
56010 | 0.150
56040 | 0.150
56070 | 0.150
56100 | 0.153
56130 | 0.155
56160 | 0.158
56190 | 0.163
56220 | 0.157
56250 | 0.135
56280 | 0.081
56310 | 0.078
56340 | 0.079
56370 | 0.078
56400 | 0.077
56430 | 0.093
56460 | 0.116
56490 | 0.130
56520 | 0.135
56550 | 0.139
56580 | 0.132
56610 | 0.135
56640 | 0.138
56670 | 0.134
56700 | 0.133
56730 | 0.140
56760 | 0.144
56790 | 0.148
56820 | 0.148
56850 | 0.134
56880 | 0.081
56910 | 0.078
56940 | 0.078
56970 | 0.078
57000 | 0.078
57030 | 0.096
57060 | 0.132
57090 | 0.156
57120 | 0.171
57150 | 0.161
57180 | 0.161
57210 | 0.159
57240 | 0.163
57270 | 0.171
57300 | 0.175
57330 | 0.175
57360 | 0.188
57390 | 0.189
57420 | 0.192
57450 | 0.156
57480 | 0.081
57510 | 0.080
57540 | 0.078
57570 | 0.078
57600 | 0.078
57630 | 0.112
57660 | 0.153
57690 | 0.175
57720 | 0.183
57750 | 0.189
57780 | 0.191
57810 | 0.193
57840 | 0.187
57870 | 0.193
57900 | 0.196
57930 | 0.200
57960 | 0.199
57990 | 0.197
58020 | 0.199
58050 | 0.163
58080 | 0.080
58110 | 0.078
58140 | 0.078
58170 | 0.078
58200 | 0.077
58230 | 0.118
58260 | 0.170
58290 | 0.199
58320 | 0.206
58350 | 0.210
58380 | 0.221
58410 | 0.237
58440 | 0.247
58470 | 0.256
58500 | 0.253
58530 | 0.268
58560 | 0.287
58590 | 0.274
58620 | 0.286
58650 | 0.219
58680 | 0.083
58710 | 0.081
58740 | 0.080
58770 | 0.080
58800 | 0.081
58830 | 0.125
58860 | 0.180
58890 | 0.212
58920 | 0.202
58950 | 0.213
58980 | 0.204
59010 | 0.213
59040 | 0.209
59070 | 0.193
59100 | 0.200
59130 | 0.213
59160 | 0.212
59190 | 0.219
59220 | 0.218
59250 | 0.176
59280 | 0.084
59310 | 0.082
59340 | 0.080
59370 | 0.080
59400 | 0.081
59430 | 0.117
59460 | 0.166
59490 | 0.180
59520 | 0.177
59550 | 0.184
59580 | 0.182
59610 | 0.175
59640 | 0.185
59670 | 0.193
59700 | 0.198
59730 | 0.201
59760 | 0.205
59790 | 0.221
59820 | 0.230
59850 | 0.191
59880 | 0.085
59910 | 0.084
59940 | 0.083
59970 | 0.082
60000 | 0.083
60030 | 0.125
60060 | 0.190
60090 | 0.217
60120 | 0.228
60150 | 0.233
60180 | 0.244
60210 | 0.245
60240 | 0.253
60270 | 0.253
60300 | 0.271
60330 | 0.271
60360 | 0.267
60390 | 0.274
60420 | 0.267
60450 | 0.177
60480 | 0.086
60510 | 0.085
60540 | 0.084
60570 | 0.084
60600 | 0.084
60630 | 0.123
60660 | 0.202
60690 | 0.223
60720 | 0.223
60750 | 0.233
60780 | 0.232
60810 | 0.233
60840 | 0.253
60870 | 0.271
60900 | 0.277
60930 | 0.272
60960 | 0.281
60990 | 0.286
61020 | 0.300
61050 | 0.220
61080 | 0.088
61110 | 0.085
61140 | 0.085
61170 | 0.084
61200 | 0.085
61230 | 0.131
61260 | 0.200
61290 | 0.221
61320 | 0.229
61350 | 0.244
61380 | 0.243
61410 | 0.259
61440 | 0.254
61470 | 0.251
61500 | 0.243
61530 | 0.246
61560 | 0.251
61590 | 0.284
61620 | 0.271
61650 | 0.216
61680 | 0.087
61710 | 0.086
61740 | 0.085
61770 | 0.085
61800 | 0.087
61830 | 0.120
61860 | 0.190
61890 | 0.230
61920 | 0.244
61950 | 0.250
61980 | 0.252
62010 | 0.247
62040 | 0.252
62070 | 0.269
62100 | 0.283
62130 | 0.279
62160 | 0.288
62190 | 0.279
62220 | 0.254
62250 | 0.226
62280 | 0.088
62310 | 0.085
62340 | 0.085
62370 | 0.085
62400 | 0.085
62430 | 0.138
62460 | 0.222
62490 | 0.239
62520 | 0.246
62550 | 0.248
62580 | 0.258
62610 | 0.256
62640 | 0.258
62670 | 0.260
62700 | 0.272
62730 | 0.273
62760 | 0.275
62790 | 0.283
62820 | 0.277
62850 | 0.220
62880 | 0.088
62910 | 0.086
62940 | 0.086
62970 | 0.086
63000 | 0.086
63030 | 0.138
63060 | 0.210
63090 | 0.236
63120 | 0.249
63150 | 0.237
63180 | 0.236
63210 | 0.265
63240 | 0.255
63270 | 0.262
63300 | 0.256
63330 | 0.260
63360 | 0.285
63390 | 0.272
63420 | 0.268
63450 | 0.204
63480 | 0.089
63510 | 0.086
63540 | 0.085
63570 | 0.085
63600 | 0.086
63630 | 0.137
63660 | 0.218
63690 | 0.237
63720 | 0.203
63750 | 0.222
63780 | 0.220
63810 | 0.236
63840 | 0.241
63870 | 0.240
63900 | 0.233
63930 | 0.246
63960 | 0.256
63990 | 0.280
64020 | 0.297
64050 | 0.219
64080 | 0.088
64110 | 0.085
64140 | 0.086
64170 | 0.086
64200 | 0.086
64230 | 0.127
64260 | 0.203
64290 | 0.234
64320 | 0.238
64350 | 0.246
64380 | 0.243
64410 | 0.242
64440 | 0.251
64470 | 0.261
64500 | 0.262
64530 | 0.274
64560 | 0.281
64590 | 0.268
64620 | 0.278
64650 | 0.224
64680 | 0.088
64710 | 0.087
64740 | 0.086
64770 | 0.086
64800 | 0.086
64830 | 0.131
64860 | 0.203
64890 | 0.229
64920 | 0.239
64950 | 0.239
64980 | 0.246
65010 | 0.233
65040 | 0.248
65070 | 0.249
65100 | 0.257
65130 | 0.265
65160 | 0.242
65190 | 0.265
65220 | 0.270
65250 | 0.215
65280 | 0.090
65310 | 0.087
65340 | 0.086
65370 | 0.086
65400 | 0.087
65430 | 0.142
65460 | 0.216
65490 | 0.238
65520 | 0.235
65550 | 0.249
65580 | 0.264
65610 | 0.269
65640 | 0.252
65670 | 0.259
65700 | 0.263
65730 | 0.265
65760 | 0.278
65790 | 0.300
65820 | 0.299
65850 | 0.230
65880 | 0.090
65910 | 0.088
65940 | 0.088
65970 | 0.087
66000 | 0.087
66030 | 0.129
66060 | 0.217
66090 | 0.254
66120 | 0.265
66150 | 0.254
66180 | 0.265
66210 | 0.276
66240 | 0.269
66270 | 0.277
66300 | 0.292
66330 | 0.297
66360 | 0.297
66390 | 0.317
66420 | 0.291
66450 | 0.221
66480 | 0.089
66510 | 0.089
66540 | 0.087
66570 | 0.087
66600 | 0.087
66630 | 0.138
66660 | 0.211
66690 | 0.226
66720 | 0.243
66750 | 0.242
66780 | 0.242
66810 | 0.250
66840 | 0.250
66870 | 0.254
66900 | 0.265
66930 | 0.255
66960 | 0.257
66990 | 0.260
67020 | 0.266
67050 | 0.206
67080 | 0.092
67110 | 0.088
67140 | 0.087
67170 | 0.086
67200 | 0.086
67230 | 0.136
67260 | 0.229
67290 | 0.247
67320 | 0.248
67350 | 0.251
67380 | 0.250
67410 | 0.257
67440 | 0.274
67470 | 0.272
67500 | 0.282
67530 | 0.293
67560 | 0.304
67590 | 0.306
67620 | 0.342
67650 | 0.238
67680 | 0.091
67710 | 0.087
67740 | 0.089
67770 | 0.087
67800 | 0.088
67830 | 0.137
67860 | 0.218
67890 | 0.241
67920 | 0.248
67950 | 0.264
67980 | 0.261
68010 | 0.275
68040 | 0.278
68070 | 0.272
68100 | 0.284
68130 | 0.288
68160 | 0.293
68190 | 0.297
68220 | 0.291
68250 | 0.226
68280 | 0.092
68310 | 0.090
68340 | 0.090
68370 | 0.089
68400 | 0.089
68430 | 0.144
68460 | 0.211
68490 | 0.234
68520 | 0.237
68550 | 0.236
68580 | 0.251
68610 | 0.259
68640 | 0.278
68670 | 0.277
68700 | 0.259
68730 | 0.287
68760 | 0.277
68790 | 0.274
68820 | 0.288
68850 | 0.218
68880 | 0.093
68910 | 0.090
68940 | 0.089
68970 | 0.089
69000 | 0.089
69030 | 0.138
69060 | 0.225
69090 | 0.243
69120 | 0.249
69150 | 0.250
69180 | 0.257
69210 | 0.257
69240 | 0.264
69270 | 0.272
69300 | 0.288
69330 | 0.294
69360 | 0.279
69390 | 0.302
69420 | 0.313
69450 | 0.235
69480 | 0.092
69510 | 0.088
69540 | 0.089
69570 | 0.088
69600 | 0.090
69630 | 0.143
69660 | 0.204
69690 | 0.244
69720 | 0.241
69750 | 0.232
69780 | 0.245
69810 | 0.256
69840 | 0.249
69870 | 0.268
69900 | 0.279
69930 | 0.270
69960 | 0.274
69990 | 0.268
70020 | 0.277
70050 | 0.215
70080 | 0.089
70110 | 0.087
70140 | 0.088
70170 | 0.087
70200 | 0.087
70230 | 0.139
70260 | 0.208
70290 | 0.238
70320 | 0.237
70350 | 0.257
70380 | 0.279
70410 | 0.375
70440 | 0.258
70470 | 0.254
70500 | 0.255
70530 | 0.258
70560 | 0.264
70590 | 0.260
70620 | 0.276
70650 | 0.212
70680 | 0.089
70710 | 0.086
70740 | 0.086
70770 | 0.087
70800 | 0.086
70830 | 0.132
70860 | 0.193
70890 | 0.231
70920 | 0.243
70950 | 0.247
70980 | 0.260
71010 | 0.260
71040 | 0.267
71070 | 0.280
71100 | 0.299
71130 | 0.295
71160 | 0.295
71190 | 0.308
71220 | 0.294
71250 | 0.218
71280 | 0.091
71310 | 0.089
71340 | 0.088
71370 | 0.089
71400 | 0.091
71430 | 0.137
71460 | 0.214
71490 | 0.205
71520 | 0.217
71550 | 0.234
71580 | 0.233
71610 | 0.220
71640 | 0.241
71670 | 0.201
71700 | 0.213
71730 | 0.257
71760 | 0.260
71790 | 0.281
71820 | 0.279
71850 | 0.216
71880 | 0.093
71910 | 0.088
71940 | 0.089
71970 | 0.089
72000 | 0.089
72030 | 0.135
72060 | 0.180
72090 | 0.219
72120 | 0.240
72150 | 0.255
72180 | 0.246
72210 | 0.260
72240 | 0.266
72270 | 0.264
72300 | 0.265
72330 | 0.260
72360 | 0.288
72390 | 0.275
72420 | 0.286
72450 | 0.200
72480 | 0.091
72510 | 0.088
72540 | 0.088
72570 | 0.088
72600 | 0.087
72630 | 0.145
72660 | 0.220
72690 | 0.255
72720 | 0.261
72750 | 0.252
72780 | 0.259
72810 | 0.279
72840 | 0.276
72870 | 0.305
72900 | 0.301
72930 | 0.298
72960 | 0.321
72990 | 0.317
73020 | 0.312
73050 | 0.239
73080 | 0.091
73110 | 0.087
73140 | 0.087
73170 | 0.087
73200 | 0.088
73230 | 0.144
73260 | 0.228
73290 | 0.231
73320 | 0.253
73350 | 0.265
73380 | 0.246
73410 | 0.250
73440 | 0.268
73470 | 0.279
73500 | 0.305
73530 | 0.299
73560 | 0.305
73590 | 0.303
73620 | 0.288
73650 | 0.218
73680 | 0.089
73710 | 0.087
73740 | 0.087
73770 | 0.087
73800 | 0.089
73830 | 0.140
73860 | 0.207
73890 | 0.228
73920 | 0.252
73950 | 0.247
73980 | 0.252
74010 | 0.271
74040 | 0.270
74070 | 0.279
74100 | 0.273
74130 | 0.274
74160 | 0.284
74190 | 0.288
74220 | 0.285
74250 | 0.203
74280 | 0.090
74310 | 0.089
74340 | 0.088
74370 | 0.088
74400 | 0.089
74430 | 0.148
74460 | 0.221
74490 | 0.253
74520 | 0.237
74550 | 0.231
74580 | 0.261
74610 | 0.270
74640 | 0.280
74670 | 0.288
74700 | 0.297
74730 | 0.294
74760 | 0.304
74790 | 0.319
74820 | 0.310
74850 | 0.257
74880 | 0.093
74910 | 0.090
74940 | 0.091
74970 | 0.091
75000 | 0.090
75030 | 0.141
75060 | 0.228
75090 | 0.245
75120 | 0.259
75150 | 0.264
75180 | 0.258
75210 | 0.277
75240 | 0.267
75270 | 0.274
75300 | 0.287
75330 | 0.261
75360 | 0.319
75390 | 0.321
75420 | 0.326
75450 | 0.228
75480 | 0.096
75510 | 0.094
75540 | 0.094
75570 | 0.092
75600 | 0.093
75630 | 0.148
75660 | 0.191
75690 | 0.237
75720 | 0.260
75750 | 0.272
75780 | 0.273
75810 | 0.291
75840 | 0.281
75870 | 0.276
75900 | 0.274
75930 | 0.257
75960 | 0.256
75990 | 0.273
76020 | 0.276
76050 | 0.215
76080 | 0.095
76110 | 0.091
76140 | 0.091
76170 | 0.090
76200 | 0.091
76230 | 0.134
76260 | 0.211
76290 | 0.236
76320 | 0.247
76350 | 0.246
76380 | 0.255
76410 | 0.269
76440 | 0.289
76470 | 0.291
76500 | 0.313
76530 | 0.321
76560 | 0.320
76590 | 0.335
76620 | 0.335
76650 | 0.264
76680 | 0.092
76710 | 0.091
76740 | 0.090
76770 | 0.090
76800 | 0.089
76830 | 0.174
76860 | 0.293
76890 | 0.342
76920 | 0.355
76950 | 0.372
76980 | 0.392
77010 | 0.421
77040 | 0.438
77070 | 0.435
77100 | 0.455
77130 | 0.479
77160 | 0.498
77190 | 0.477
77220 | 0.480
77250 | 0.339
77280 | 0.095
77310 | 0.090
77340 | 0.089
77370 | 0.089
77400 | 0.090
77430 | 0.188
77460 | 0.323
77490 | 0.355
77520 | 0.370
77550 | 0.360
77580 | 0.359
77610 | 0.360
77640 | 0.363
77670 | 0.361
77700 | 0.359
77730 | 0.336
77760 | 0.356
77790 | 0.338
77820 | 0.384
77850 | 0.271
77880 | 0.092
77910 | 0.090
77940 | 0.088
77970 | 0.089
78000 | 0.089
78030 | 0.160
78060 | 0.271
78090 | 0.296
78120 | 0.301
78150 | 0.299
78180 | 0.307
78210 | 0.325
78240 | 0.324
78270 | 0.329
78300 | 0.328
78330 | 0.338
78360 | 0.345
78390 | 0.338
78420 | 0.338
78450 | 0.253
78480 | 0.094
78510 | 0.092
78540 | 0.091
78570 | 0.091
78600 | 0.091
78630 | 0.217
78660 | 0.357
78690 | 0.426
78720 | 0.455
78750 | 0.457
78780 | 0.428
78810 | 0.417
78840 | 0.421
78870 | 0.433
78900 | 0.405
78930 | 0.409
78960 | 0.412
78990 | 0.394
79020 | 0.413
79050 | 0.303
79080 | 0.094
79110 | 0.091
79140 | 0.091
79170 | 0.093
79200 | 0.093
79230 | 0.221
79260 | 0.398
79290 | 0.517
79320 | 0.515
79350 | 0.527
79380 | 0.501
79410 | 0.478
79440 | 0.468
79470 | 0.444
79500 | 0.445
79530 | 0.457
79560 | 0.430
79590 | 0.445
79620 | 0.452
79650 | 0.320
79680 | 0.097
79710 | 0.096
79740 | 0.096
79770 | 0.098
79800 | 0.097
79830 | 0.250
79860 | 0.419
79890 | 0.535
79920 | 0.543
79950 | 0.491
79980 | 0.462
80010 | 0.465
80040 | 0.465
80070 | 0.452
80100 | 0.450
80130 | 0.445
80160 | 0.426
80190 | 0.488
80220 | 0.436
80250 | 0.332
80280 | 0.099
80310 | 0.098
80340 | 0.097
80370 | 0.096
80400 | 0.099
80430 | 0.257
80460 | 0.507
80490 | 0.615
80520 | 0.567
80550 | 0.551
80580 | 0.507
80610 | 0.465
80640 | 0.491
80670 | 0.480
80700 | 0.474
80730 | 0.481
80760 | 0.470
80790 | 0.495
80820 | 0.473
80850 | 0.360
80880 | 0.103
80910 | 0.100
80940 | 0.099
80970 | 0.101
81000 | 0.103
81030 | 0.261
81060 | 0.417
81090 | 0.539
81120 | 0.574
81150 | 0.498
81180 | 0.495
81210 | 0.480
81240 | 0.471
81270 | 0.363
81300 | 0.389
81330 | 0.457
81360 | 0.493
81390 | 0.471
81420 | 0.468
81450 | 0.364
81480 | 0.109
81510 | 0.105
81540 | 0.105
81570 | 0.106
81600 | 0.105
81630 | 0.187
81660 | 0.329
81690 | 0.402
81720 | 0.388
81750 | 0.366
81780 | 0.395
81810 | 0.400
81840 | 0.380
81870 | 0.397
81900 | 0.418
81930 | 0.424
81960 | 0.420
81990 | 0.406
82020 | 0.424
82050 | 0.321
82080 | 0.114
82110 | 0.112
82140 | 0.111
82170 | 0.110
82200 | 0.111
82230 | 0.177
82260 | 0.270
82290 | 0.255
82320 | 0.313
82350 | 0.318
82380 | 0.333
82410 | 0.368
82440 | 0.382
82470 | 0.381
82500 | 0.398
82530 | 0.402
82560 | 0.372
82590 | 0.372
82620 | 0.399
82650 | 0.293
82680 | 0.117
82710 | 0.115
82740 | 0.112
82770 | 0.112
82800 | 0.117
82830 | 0.189
82860 | 0.241
82890 | 0.289
82920 | 0.309
82950 | 0.303
82980 | 0.319
83010 | 0.358
83040 | 0.351
83070 | 0.350
83100 | 0.329
83130 | 0.347
83160 | 0.392
83190 | 0.385
83220 | 0.396
83250 | 0.284
83280 | 0.116
83310 | 0.115
83340 | 0.113
83370 | 0.115
83400 | 0.115
83430 | 0.173
83460 | 0.280
83490 | 0.314
83520 | 0.332
83550 | 0.330
83580 | 0.336
83610 | 0.363
83640 | 0.364
83670 | 0.386
83700 | 0.357
83730 | 0.362
83760 | 0.371
83790 | 0.361
83820 | 0.369
83850 | 0.288
83880 | 0.121
83910 | 0.116
83940 | 0.116
83970 | 0.116
84000 | 0.117
84030 | 0.183
84060 | 0.263
84090 | 0.314
84120 | 0.324
84150 | 0.343
84180 | 0.347
84210 | 0.357
84240 | 0.339
84270 | 0.351
84300 | 0.373
84330 | 0.386
84360 | 0.402
84390 | 0.377
84420 | 0.401
84450 | 0.281
84480 | 0.126
84510 | 0.122
84540 | 0.122
84570 | 0.121
84600 | 0.120
84630 | 0.187
84660 | 0.280
84690 | 0.265
84720 | 0.286
84750 | 0.304
84780 | 0.327
84810 | 0.344
84840 | 0.355
84870 | 0.336
84900 | 0.346
84930 | 0.328
84960 | 0.389
84990 | 0.364
85020 | 0.373
85050 | 0.296
85080 | 0.126
85110 | 0.123
85140 | 0.123
85170 | 0.128
85200 | 0.128
85230 | 0.188
85260 | 0.281
85290 | 0.306
85320 | 0.329
85350 | 0.332
85380 | 0.331
85410 | 0.344
85440 | 0.358
85470 | 0.348
85500 | 0.378
85530 | 0.383
85560 | 0.406
85590 | 0.410
85620 | 0.401
85650 | 0.308
85680 | 0.129
85710 | 0.125
85740 | 0.124
85770 | 0.125
85800 | 0.124
85830 | 0.200
85860 | 0.293
85890 | 0.297
85920 | 0.265
85950 | 0.307
85980 | 0.332
86010 | 0.320
86040 | 0.327
86070 | 0.322
86100 | 0.347
86130 | 0.368
86160 | 0.362
86190 | 0.365
86220 | 0.378
86250 | 0.280
86280 | 0.131
86310 | 0.129
86340 | 0.128
86370 | 0.126
86400 | 0.143